Physics 19 Lab							   Union College Fall 2004

## Introduction to Interferometry

In this lab, we will construct and use a Michelson interferometer to measure the wavelength of light from a helium-neon laser.

# Introduction

A beam of light can be modeled as a wave of oscillating electric and magnetic fields.  When two or more beams of light meet in space, these fields add according to the principle of superposition.  That is, at each point in space, the electric and magnetic fields are determined as the vector sum of the fields of the separate beams.

If each beam of light originates from a separate source, there is generally no fixed relationship between the electromagnetic oscillations in the beams.  At any instant in time, there will be points in space where the fields add to produce maximum field strength.  However, the oscillations of visible light are far faster than the human eye can apprehend.  Since there is no fixed relationship between the oscillations, a point at which there is a maximum at one instant may have a minimum at the next instant.  The human eye averages these results and perceives a uniform intensity of light.

If two beams of light originate from the same source, there is generally some degree of correlation between the frequency and phase of the oscillations.  At one point in space the light from the beams may be continually in phase.  In this case, the combined field will always be a maximum and a bright spot will be seen.  At another point the light from the beams may be continually out of phase and a minima, or dark spot, will be seen.

Thomas Young was one of the first to design a method for producing such an interference pattern.  He allowed a single, narrow beam of light to fall on two narrow, closely spaced slits.  Opposite the slits he placed a viewing screen.  Where the light from the two slits struck the screen, a regular pattern of dark and bright bands appeared.  When first performed, Young’s experiment offered important evidence for the wave nature of light.

In 1881, 78 years after Young introduced his two-slit experiment, A.A. Michelson designed and built and interferometer using a similar principle.  Originally built to test for the existence of the ether, Michelson’s interferometer has become a widely used instrument for measuring the wavelength of light, for using the wavelength of a known light source to measure extremely small distances, and for investigating optical media.

Figure 1 above shows a diagram of a Michelson interferometer.  The beam of light from the laser strikes the beam splitter, which reflects 50% of the incident light and transmits the other 50%.  The incident beam is therefore split into two beams; one is transmitted toward the movable mirror (M1), and the other is reflected toward the fixed adjustable mirror (M2).  Both mirrors reflect the light directly back toward the beam splitter.  Half of the light from M1 is reflected from the beam splitter to the viewing screen and half the light from M2 is transmitted through the beam splitter to the viewing screen.  In this way the original beam of light is split, and portions of the resulting beams are brought back together.  Since the beams are from the same source, their phases are highly correlated.  When a lens is placed between the laser source and the beam splitter, the light ray spreads out, and an interference pattern of dark and bright rings, or fringes, is seen on the viewing screen (figure 2).

Since the two interfering beams of light were split from the same initial beam, they were initially in phase.  Their relative phase when they meet at any point on the viewing screen, therefore, depends on the difference in the length of their optical paths in reaching that point.

By moving M1, the path length of one of the beams can be varied.  Since the beam traverses the path between M1 and the beam splitter twice, moving M1 1/4 wavelength nearer the beam splitter will reduce the optical path of that beam by 1/2 wavelength.  The interference pattern will change; the radii of the maxima will be reduced so they now occupy the position of the former minima.  If M1 is moved an additional 1/4 wavelength closer to the beam splitter, the radii of the maxima will again be reduced so maxima and minima trade positions, but this new arrangement will be indistinguishable from the original pattern.

By slowly moving the mirror a measured distance dm, and counting m, the number of times the fringe pattern is restored to its original state, the wavelength of light () can be calculated as:

= 2dm/m

# Procedure

### Laser alignment

- Set the interferometer base on a lab table with movable mirror on the right.

- Position the laser alignment bench to the left of the base approximately perpendicular to the base and place the laser on the bench.

- Turn the laser on.  Using the leveling screws on the laser bench, adjust its height until the laser beam is approximately parallel with the top of the interferometer base and strikes the movable mirror in the center.  To check that the beam is parallel, place a piece of paper in the beam path, with the edge of the paper flush against the base.  Mark the height of the beam on the paper.  Using the piece of paper, check that the beam height is the same at both ends of the bench.

- Adjust the x-y position of the laser until the beam is reflected from the movable mirror right back into the laser aperture.  This is most easily done by gently sliding the rear end of the laser transverse to the axis of the alignment bench.

### Interferometer construction and alignment

- Place the beam splitter into the interferometer base (NOTE: For the square interferometer base, position the beam splitter at a 45 degree angle to the laser beam, within the crop marks, so that the beam is reflected into the fixed adjustable mirror M2.  Adjust the angle of the beam splitter as needed so that the reflected beam hits the fixed mirror near its center.)

- There should now be two sets of bright dots on the viewing screen; one set comes from the fixed adjustable mirror M2 and the other comes from the movable mirror M1.  Each set of dots should include a bright dot with two or more dots of lesser brightness (due to multiple reflections).  Adjust the angle of the beam splitter again (square base only) or the tilt of the fixed adjustable mirror M2 until the two sets of dots coincide.

- Attach the 18 mm lens to the magnetic backing of the component holder (square base) or directly to the laser itself.  Adjust its position until the diverging beam is centered on the beam splitter.  You should now see circular fringes on the viewing screen.  If not, carefully adjust the tilt of the fixed adjustable mirror until the fringes appear.  Note that it is not necessary that your interference pattern be perfectly symmetrical or sharp.  As long as you can clearly distinguish the maxima and minima, you can make accurate measurements.

### Using the interferometer

- Adjust the micrometer knob to a medium reading (approximately 50 m).  In this position, the relationship between the micrometer reading and the mirror movement is most nearly linear.

- Turn the micrometer knob one full turn counterclockwise.  Continue turning counterclockwise until the zero on the knob is aligned with the index mark.  Record the micrometer reading.

NOTE:  When you reverse the direction in which you turn the micrometer knob, there is a small amount of give before the mirror begins to move.  This is called mechanical backlash, and is present in all mechanical systems involving reversals in direction of movement.  By beginning with a full counterclockwise turn, and then turning only counterclockwise when counting fringes, you can eliminate errors due to backlash.

- Adjust the position of the viewing screen so that one of the marks on the millimeter scale is aligned with the boundary between a maxima and minima in your interference pattern.  You will find it easier to count the fringes if the reference mark is one or two fringes out from the center of the pattern.

- Move the micrometer dial until the boundary between the next maximum and minima reaches the same position as the original boundary (in other words, the fringe pattern should look the same as in the original position).  One fringe has gone by.  Continue to rotate the micrometer knob slowly counter clockwise and count the fringes as they pass your reference mark, until some predetermined number of fringes have passed your mark (count at least 20 fringes, preferably 30 or more).  As you finish your count, the fringes should be in the same position with respect to your reference mark as they were when you started to count.  Record the final reading of the micrometer dial.

- Record dm, the distance that the mirror moved toward the beam splitter according to your readings of the micrometer knob.  Remember, each small division on the micrometer knob corresponds to one m (10-6 m) of mirror movement.

- Record m, the number of fringe transitions that you counted.

- Repeat steps 2-6 twice for each lab partner (so that each lab partner contributes three data points), recording your results each time.

- Calculate the wavelength of your laser light from your data, and compare your result to the wavelength stated on the laser housing.

### Polarization

- Place a polarizer between the laser and the beam splitter.  Try several polarization angles.  How does this affect the brightness and clarity of the fringe pattern?  What does this tell you about the polarization characteristics of your light source?

- Remove that polarizer and place a polarizer in front of the fixed or movable mirror.  Try several polarization angles.  How does this affect the fringe pattern?  Does this observation give you any more information about the polarization of your source?

- Now try two polarizers, one in front of the fixed mirror, and one in front of the movable mirror.  First rotate one polarizer, then the other.  Again, note the effects.  Do cross-polarized beams interfere?

Notes on preparing the presentation:

  - Include a short description of the historical significance of the Michelson interferometer.  We are clearly using the interferometer for a different purpose here, but, as the importance of this type of interferometer is largely historical, you should discuss it in your presentation.

  - You should be prepared to describe/derive/explain the equation used to find the wavelength of the laser light.

  - Bring a sketch of the apparatus, and be sure to explain it thoroughly as part of your presentation.

  - Make sure you do a careful and thorough error analysis, and discuss possible sources of uncertainty.

  - Be sure to follow the guidelines in the “Laboratory Notebooks, Reports, and Presentations”.  If you have any questions, ask them as early as possible.

# Text boxes

Viewing screen

Laser

movable mirror (M1)

adjustable mirror (M2)

Beam splitter

Figure 1

Michelson Interferometer

Figure 2   Interferometer interference fringes

lens