Union College										   Spring 2019

Physics 121:  Lab 5

V vs. Time and I vs. Time for Charging and Discharging a Capacitor

When a capacitor is first connected in a simple circuit current flows into the capacitor until it gains enough charge that its potential difference equals that of the power supply.  When the capacitor and battery have the same V, an equilibrium is achieved and the current ceases.  In this lab, you will empirically determine the functional form of the time dependence of the capacitor voltage and the current from when the circuit is first connected to when equilibrium is achieved.  You will do this both for charging and discharging the capacitor.

Set-up:

1.  The circuit:  The circuit is setup at your station. Examine the diagram and carefully check that your circuit agrees with it. There are a lot of wires!  Make sure you understand how the switch operates and which direction you have to move the switch to activate each of the two circuits. If you see any discrepancies between your setup and the diagram or need help checking, ask your lab instructor.

Figure 1: Circuit diagram of the set-up. The variable resistors are the decade resistor boxes and the A port connects with Capstone on the computer to be is used as a voltmeter. To act as an ammeter, the B-port measures voltage across a known resistor. Be sure that the capacitor is connected with the direction of its polarity, relative to the voltage supply, as shown

2.  Setting up Pasco Capstone

(a) Click on the “PASCO Capstone icon”

(b) In the left column, select “Hardware Setup.”

(c) In the figure of the Science Workshop interface box, click on the A-port; scroll down and select “Voltage Sensor.”

(d) Click on the B-port and select “Voltage Sensor.”

(e) Click on the “Hardware Setup” icon in the left column to remove the setup window.

(f) Click on “Graph” in the right column.

(g) Move the mouse to the graph window. A tool bar will appear at the top.  Click on the icon that looks like an up arrow next to an asterisk (towards the right). This will add another y-axis value on the right side of the plot.  On the two-y axes, click on “<Select Measurements>” and select “Voltage (Ch A)” for one and “Voltage (Ch. B)” for the other.  As shown in Figure 1, Ch. A measures the voltage across the capacitor, and Ch. B is proportional to the current (I = VB/R where R is the resistance).

Measurements:

1.  Resistor Values: Set the dials on each of the variable resistor decade boxes to 2 k.   With the switch in the middle position (so that neither circuit is complete), use a DMM to obtain a more precise measure of the resistance.  NOTE: be sure to never let R get set to zero while discharging the capacitor (in step (3))!

2. Charging the capacitor:

(a) First, make sure that the switch is set to close for a circuit excluding the power supply and wait a few minutes to be sure that the capacitor is fully discharged.

(b) Without moving the switch yet, turn on the DC voltage supply and set it to 10 volts.  Do not exceed 10 Volts!

(c) Find the “Record” button on the bottom left of the graph window in Capstone. One partner should be ready to click “Record” immediately after the other partner moves the switch to connect the capacitor to the voltage supply. Once recording starts, watch the graph and when the capacitor voltage gets sufficiently close to 10 volts, click “Stop.”  (Do not turn off power.)

(d) Move the mouse into the Graph window. Note the icon that looks like a line fit through a bunch of data, and click on the down arrow next to it. Select “Natural Exponential.”
 A box will appear showing the fit to the function

f(x) = Ae-Bt+y0

and the fitted values of A, B, and y0, with uncertainties.

(e) Find the best-fit curves for both the voltage and the current by clicking each curve and use the line-fit icon to choose “Natural Exponential.”  When fitting to the second curve, you may have to click off the fitting function and then click it on again. Write the values of A, B, and yo, with uncertainties, for the best-fit functions in the columns for “Charging” in Table 1.

3. Discharging the capacitor:

(a) Get ready to click “Record” again. Move the switch to the discharging circuit (the one without the power supply) and immediately click “Record.” Watch the graph and when the voltage across the capacitor gets sufficiently close to 0 volts, click “Stop.”

(b) Find the best-fit curve for both the voltage and the current.  Write these best-fit function values in the columns for Discharging in Table 1.

4.  Dependence on Resistance:

(a) Repeat steps 2 and 3 for a resistance of 4 k  Use the DMM to record the resistance (including the small resistance) in the next row of the data table.  Record the best-fit function values for each case.

5.  Dependence on Capacitance:

(a)  Turn the power off and switch out the blue capacitor for the small black capacitor.  Be sure to connect the capacitor with its “+” and “” terminals in the same orientation in the circuit as the terminals of the power supply.  Let your instructor check your circuit before continuing. Set the resistor boxes back to 2 k.  Find and record the best-fit functions for charging and discharging.

Analysis and Results for Lab 5 (Charging and Discharging of a Capacitor)

Table 1:  Best-Fit Values for A, B, and y0 in natural exponential function

| C (F) | R (k) | V(t) Charging (volts) | I(t) Charging (amps) | V(t) Discharging (volts) | I(t) Discharging (amps) |
| --- | --- | --- | --- | --- | --- |

Questions:

1.  Compare the general shapes of the I(t) and V(t) curves for charging and discharging for one set of R and C.  Explain these curves in terms of the start and end conditions of the circuit.  Include consideration of when equilibrium occurs in the metal wires as part of your explanation.

2.  You have seen that V(t) and I(t) for charging and discharging involved exponentials of the form e-Bt.  This is referred to as an exponential decay and is more commonly written at e-t/, where  is called the “time constant.”  A more rapid exponential decay will have a smaller time constant. Invert your best fit values of B to determine the time constants for V(t) and I(t) for charging and discharging in each case and write these values for measured in Table 2.

Table 2:  Measured and Expected Time Constants

| C (F) | R (k) | V(t) Charging | I(t) Charging | V(t) Discharging | I(t) Discharging |
| --- | --- | --- | --- | --- | --- |
|  |  | measured (sec) | expected (sec) | measured (sec) | expected (sec) | measured (sec) | expected (sec) | measured (sec) | expected (sec) |

3.  Compare the rates that I(t) and V(t) change for the different resistance values (with same C).  How does R affect the rate of charging and discharging?  Justify why.

4.  Compare the data sets for different C values (with same R).  How does C affect the rate of charging and discharging?  Why?

5.  For charging and discharging capacitors we expect a time constant given by

 = RC.

- By manipulating basic circuit equations involving R and C, show that the RC has units of seconds.

- Calculate the expected time constants in each of your runs by using = RC.  The capacitance of the blue capacitor is stated as 10,000 F, or 0.01 F, and that of the black capacitor is 15,000 F.  Do the expected time constant values agree with the measured values?  Does depend on R and on C as expected?